## Consolidated Checklist
GRIHA Large Development
Self Evaluation Checklist
PLEASE NOTE - DO NOT enter any data in the "Consolidated Checklist" sheet. The individual fields are linked to the fields of each separate section sheet. Please enter data in those respective sheets only.
Section | Parameter |  | Being done for the project
Carrying Capacity | Water availability to support the planned population on site |  | Yes/No
| 9 sqm/capita green cover has been provided |  | Yes/No
| Per capita CO2 emissions to be less than 1.18 tonnes per annum (India’s national average) |  | Yes/No
Resource Impact
Section | Reduction in Impact | Quantitative Impact (from 0 to 100%) (Qn) | Final impact score in each section
Site Planning | 0 | 100 | 90
Energy | 0 | 100 | 100
Water | 0 | 100 | 100
Waste | 0 | 100 | 80
Total |  |  | 92.5
Environmental Quality
Section | Reduction in Impact | Qualitative Impact (from 0 to 100%) (Ql) | Final impact score in each section
Site Planning | 0 | 100 | 100
Energy | 0 | 100 | 80
Water | 0 | 100 | 90
Waste | 0 | 100 | 80
Transport | 0 | 100 | 90
Social | 0 | 100 | 90
Total |  |  | 88.3333
Net Impact | 100%
Impact on site | GRIHA LD rating
75% - 66% | 1 star
65% - 56% | 2 star
55% - 46% | 3 star
45% - 36% | 4 star
Less than 35% | 5 star

## Resource Impact
GRIHA Large Development
Resource Impact
Instructions In this part of the feasibility sheet, input the total reduction in impact in each section. In this section, the greater the impact reduction, the better the design and therefore, the higher the rating.
| Maximum Impact | Reduction in Impact
Site Planning
Adopt site planning strategies to ensure that the overall ambient outdoor temperature, before and after construction, does not change. | 100 | 0
Scale: To enter the percentage impact, please follow the following directions: If the ambient temperature increases by 0 degree celsius, then the impact is 0. for every 0.25 degree increase in outdoor ambient temperature, the impact reductes by 10%. For a 2.5 degree (or higher) increase in outdoor ambient temperature, the impact would be considered to be reduce by 100%.
Energy
Reduce the total amount of energy (kWh) required from the local Utility grid/Diesel gensets by at least 25 per cent. | 100 | 0
Reduce the total amount of energy (kWh) required from the local Utility grid/Diesel gensets by up to 100 per cent.
Scale: Impact reduction for 100% dependence on local utility grid/diesel gensets is 0 and that for no dependence on local utility grid/diesel genset is 100. The project may enter any number between 0 - 100. For example, if a project draws 60% of its electricity (as compared to GRIHA LD base case) from the local utility grid/diesel genset, then the impact reduction to be entered is 100 - 60 = 40%.
Water and waste management
Reduce the total amount of water required from the local Municipal supply/groundwater by at least 25 per cent. | 100 | 0
Reduce the total amount of water required from the local Municipal supply/groundwater by up to 100 per cent.
Scale: Impact reduction for 100% water dependence on local Municipal supply/groundwater is 0 and that for no dependence on local Municipal supply/groundwater is 100. The project may enter any number between 0 - 100. For example, if a project draws 40% of its water from the local Municipal supply/groundwater, then the impact reduction to be entered is 100 - 40 = 60%.
Solid waste management
Treat all organic waste being generated on site | 100 | 0
Scale: Impact reduction is 0 if all theorganic waste being generated on site is sent to Municipal landfills. If all organic waste collected on site is treated, then the impact reduction is 100. Please enter any number from 0 to 100 in the column.

## Environmental Quality
GRIHA Large Development
Environmental Quality
Instructions In this part of the feasibility sheet, input points against the measures being taken on site. These are qualitative sections. Therefore, the more good measures taken on site, the higher should be the points awarded. In the Environmental Quality part, the higher the points, the higher the overall rating.
| Maximum Impact/points | Impact/Points
Site Planning
Non-Applicability: Top soil is not fertile and cannot be made fertile through addition of organic materials | yes
Storm water management | 15 | 0
Ensure that the storm water management plan on site is developed such that the post-development peak run-off rate and quantity from 5-year 24 hour design does not exceed the pre-development peak run-off rate and quantity.
Ensure incorporation of appropriate SUDS for managing over 90% of the storm water quantity on site | 15 | 0
Maintain existing site features
Ensure that more than 25% of the site area under existing natural features on site like water bodies, dense, mix-species tree clusters and contours with slopes greater than 1:4 are preserved. | 10 | 0
Ensure that more than 50% of the site are under existing natural features on site like water bodies, dense, mix-species tree clusters and contours with slopes greater than 1:4 are preserved. | 20
Ensure that more than 75% of the site area under existing natural features on site like water bodies, dense, mix-species tree clusters and contours with slopes greater than 1:4 are preserved. | 30
| 30 | 0
Manage construction activities in a manner to reduce environmental damage
During construction, preserve and protect all the natural drainage channels on site | 10 | 0
Confine construction activities to pre-designated areas (staging) and adopt soil erosion and sedimentation control strategies (during construction) on site | 10 | 0
| 20 | 0
New plantation on site
Increase existing vegetation cover on site more than 25% by ensuring plantation of native trees and shrubs. | 10 | 0
Reapply top soil in more than 75% of the landscape areas | 10 | 0
| 20 | 0
Total - Site Planning | 100 | 0
Energy
Outdoor street and security lighting
Outdoor street lighting meets the required lux levels. | 10 | 0
Automatic switching/ dimming controls to be provided for all outdoor lightings. | 15 | 0
| 25 | 0
Smart Mini Grids
Integration of various energy sources with prioritization to Renewable Energy Sources (RES) and dynamic balancing of energy supply and varying energy efficient loads of the Smart Mini-Grids | 10 | 0
Real time remote monitoring and control of smart mini-grid with user interface which operates even in mobile devices such as tablets | 8 | 0
Demand Side Management and automatic Control of loads used for common services (like street lights, water pumping etc.) based on pre-defined criteria | 7 | 0
| 25 | 0
Passive urban design
Design, massing and layout of buildings have been done in a manner to shade common areas during peak summer months while avoiding shading of roof areas being used for installation of solar photovoltaics - full 10 points if measure is implemented for the entire site | 10 | 0
Natural elements have been uniformly interspersed across the site to moderate outdoor temperatur - full 10 points if measure is implemented for the entire site | 10 | 0
Street layouts and buildings have been designed to provide minimum obstruction to local wind flow - full 10 points if measure is implemented for the entire site | 10 | 0
| 30 | 0
Operation and Maintenance
Dedicated operational staff for Operation and Maintenance of Electro-mechanical systems on site. | 5 | 0
Operation and maintenance protocol to be established and implemented. | 10 | 0
Periodic energy auditing (every year) to be carried out | 5
| 20 | 0
Total - Energy | 100 | 0
Water and waste management
Non-Applicability: Ground water recharge is advised | no
Quality of water
Ensure that quality of potable as well as non-potable water complies with relevant BIS standards | 20 | 0
Ensure that quality of captured rainwater for storage and recharge as well as recycled water for use, comply with the relevant BIS standards. | 15 | 0
| 35 | 0
STP/waste water treatment facility should meet the CPCB norms. | 15 | 0
Rainwater falling on site (besides that which is being stored for reuse) is recharged through appropriate filtration measures - 20 points if the measures are implemented for the entire site | 0 | 0
All fixtures on site - in all buildings - (WCs, urinals, showers and kitchen and lavatory faucets) should be low-flow fixtures | 10 | 0
Establish an effective monitoring systems like SCADA as well as an Operation and Maintenance Protocol for the various plumbing and water treatment systems (both centralized as well as decentralized) on site. | 20 | 0
Total - Water & Waste Management | 80 | 0
Solid Waste Management
Handling and treatment of special waste
On-site incinerators to be provided for treatment of medical / hospital waste or provision for the same to be sent to a treatment facility (If Applicable) | 20 | 0
Provide contractual tie-up with e-waste recyclers for purchase and safe recycling of e-waste from site. | 15 | 0
| 35 | 0
Segregation and storage of waste on site
Provision for hygienic secondary storage facility for organic and recyclable inorganic waste collected at site. | 20 | 0
Provide contractual tie-up with recyclers for purchase and safe recycling of inorganic recyclable wastes like metal, plastic, paper, etc., from site. | 15 | 0
| 35 | 0
Construction and demolition waste management
Develop a construction waste management plan, for safe handling and segregated storage of construction waste, to be provided to the site engineers and implemented on site. | 15 | 0
Adopt strategies to recycle and reuse construction and demolition waste on site | 15 | 0
| 30 | 0
Total - Solid Waste Management | 100 | 0
Transport
Provision of footpaths and/or bicycling tracks and for safe interaction of NMT traffic with motorized traffic
All roads should have footpaths/sidewalks and cycle tracks (cycling tracks not applicable for projects in hilly terrain). | 10 | 0
Footpaths, sidewalks and cycle tracks should be continuous, wide and universally accessible (cycling tracks not applicable for projects in hilly terrain). Supporting infrastructure and facilities like bicycle parking, landscaping, public conveniences, etc., should be provided on site. | 10 | 0
Supporting infrastructure and facilities like bicycle parking, landscaping, public conveniences, etc., should be provided on site. | 10 | 0
Necessary physical safety measures like railings, non-slippery surfaces, etc., must be taken on site. | 10 | 0
| 40 | 0
Road network planning
Street network planning to be done in a manner to promote safety, community living, efficiency, walking and cycling. Measures to control speed of vehicular traffic should be implemented on site. | 20 | 0
Parking for cars and two wheelers
Total parking area allocated for cars and two wheelers should not exceed the area required by the local bye laws/local authority norms. | 10 | 0
Collective transport services
Running collective transport services (route, stops, frequency, and capacity) for intra-site movement as well as to provide connectivity to the nearest city public transport nodes. | 15 | 0
Electric charging infrastructure for vehicles
Electric charging infrastructure provided for at least 10% of cars and bikes parked on site | 15 | 0
Total - Transport | 100 | 0
Social
Facilities for construction workers
All safety norms of NBC 2005 must be implemented on site during construction. | 10 | 0
All construction workers must have access to clean drinking water and hygienic toilets on site. | 5 | 0
Accommodation facilities for the construction workers must be clean, hygienic, with access to clean drinking water and toilets. | 10 | 0
Child labour should be banned on site. | 5 | 0
| 30 | 0
Social infrastructure in development
Design of the development should be done according to guidelines on universal accessibility, including provision of disable-friendly public toilets. | 10 | 0
Identify smoke/tobacco free zones on site. | 5 | 0
Create environmental awareness through imparting information like display boards, panels etc. | 5 | 0
Provision of dedicated resting areas and toilets for service staff as per GRIHA LD threshold. | 10 | 0
| 30 | 0
Planning for low-income group population
Non-Applicability: The development is a SEZ/Educational Campus | no
EWS housing should be provided on site. | 5 | 0
Health centers and schools – reserved for lower income group - should be provided in the development as per Urban Development Plans Formulation and Implementation (UDPFI) guidelines. | 10 | 0
Planning to also consider adequate provision for informal market. | 5 | 0
| 20 | 0
Food production on site
Plan food production for more than 5% of the total landscape area or equivalent (vertical farming etc.) | 10 | 0
Plan food production for more than 10% of the total landscape area or equivalent (vertical farming etc.) | 20
| 20 | 0
Total - Social | 100 | 0